EBBB   	Asbestos Control in School District Facilities	EBBB

Asbestos Control and Notification Procedures

The board of education directs that the district will comply with all regulations pertaining to the control of asbestos in school district facilities and that required notifications pertaining to asbestos will be made public.  All actions will be carried out in accordance with regulations of the Asbestos Hazard Emergency Response Act (AHERA).  The implementation of these procedures will be under the direction of the district Designated Person or his authorized representative.

Approved: 7/1/2003

EBBB-R	Asbestos Control in School District Facilities	EBBB-R

Asbestos Control and Notification Procedures

The following regulations are established to implement the district asbestos control and notification procedures:

1.  No district employee will purposefully disturb or modify the condition of friable asbestos in any of the district's facilities except as may be specifically authorized by this regulation.  If friable asbestos is disturbed, the district Designated Person for asbestos control will be notified as soon as possible.  Appropriate efforts will be taken by staff to assure that students do not come in contact with friable asbestos within facilities;

2.  The board will appoint a Designated Person to carry out the overall supervision of the asbestos program.  The Designated Person will be responsible to assure that the district Operation and Maintenance (O & M) plan is carried out and to advise the board on options for implementing the plan in areas which require board action.  Specifically, the following actions will be carried out by the Designated Person:

a) 	Place identifying markers on all friable asbestos in district facilities;

b) 	Make official public notice in the district legal publication that there is asbestos in school facilities.  Such notice should be in August;

EBBB-R	Asbestos Control in School District Facilities	EBBB-R-2

c)	Notify parents each year, by district newsletter, that there is friable asbestos in school facilities.  This notice should be provided in the September newsletter;

d) 	Notify the staff of the presence and location of friable asbestos in facilities where work is performed;

e) 	Conduct training course (two hour) for all staff likely to be working in the presence of friable asbestos containing materials;

f) 	Establish procedures for notification of all short-term workers of the presence and location of friable asbestos containing materials in school facilities;

g) 	Maintain all appropriate records, including the Asbestos Management Plan, involving control of friable asbestos as well as public and staff notification.

3.  A copy of the Asbestos Management Plan will be maintained in the district office and in the office of each attendance center.  This document will be made available to the public or staff upon request and copies will be provided to those requesting them in accordance with district policy on providing materials which require reproduction.  The document identifies the location of all friable asbestos in district facilities.

4.  All persons working on friable asbestos will be trained in accordance with AHERA regulations and will carry out only those emergency repair and maintenance procedures authorized by the AHERA regulations and for which appropriate training, equipment and clothing are provided.

5.  In the event there is an asbestos release event, the affected area will be sealed off and emergency action will be taken to minimize discharge of asbestos into the air.  The type of action will be determined by the extent of the release and action will be in compliance with AHERA regulations and district policy.

Approved: 7/1/2003